## Sheet1
Pearl PV
Publications
dd: 30-10-2019
Author(s) | Title of Publication | Year | Type | Name of Journal or Event | Further details | Doi | PEARL PV countries involved | Email address for contact | Abstract from publication
Family name1, Initial1., Family name1, Initial2. etc | Full title without capitals except for the first letter | 20xx | Journal / Conference Proceeding / Poster / Presentation | For event also please fill out location | Volume (Vol. 1), Issue, Page numbers (pp. 1111-1118), other |  | A PEARL PV publications has authors from at least 2 different member countries | a.bcde@somewhere.org | Please copy-paste your publication's abstract here (max 500 words)
Michelia, L., Caballero, J.A., Fernandez, E.F., Smestad, G.P., Nofuentes, G.,Mallick, K.T., Almonacid, F. | Correlating photovoltaic soiling losses to waveband and single-value transmittance measurements | 2019 | Journal | Energy | Volume 180, 1 August 2019, Pages 376-386, https://www.sciencedirect.com/science/article/pii/S0360544219309740#! | to be added | Spain, UK, USA | eduardo.fernandez@ujaen.es | This paper presents the results of an investigation on the spectral losses of photovoltaic (PV) soiling. The transmittance of a glass coupon exposed to natural soiling outdoors in Jaén, southern Spain, has been measured weekly and used to estimate the soiling losses that various types of photovoltaic materials would experience if installed in the same location. The results suggest that measuring the hemispherical transmittance of the soiling accumulated on a PV glass coupon can give enough information to quantify the impact of soiling on energy production. Each PV technology is found to have a preferred spectral region, or a specific single wavelength, for which the transmittance through a PV glass coupon could be used for the best estimation of soiling losses. Overall, considering the average spectral transmittance between the extreme wavelengths of the material-specific absorption band, or the transmittance of soiling at a single wavelength between 500 and 600 nm yields the best estimations for different PV technologies. The results of this work can lead to innovative approaches to detect soiling in the field and to estimate the impact of spectral changes induced by soiling on PV energy production.
Devetakovic, M., Đorđević, Đ., Đukanović, G., Krstić Furundžić, A., Sudimac, B., Scognamiglio, A. | Design of Solar Systems for Buildings and Use of BIM Tools: Overview of Relevant Geometric Aspects | 2019 | Journal | FME Transactions | Volume 47, No 2, 2019, Pages 387-397, https://www.mas.bg.ac.rs/istrazivanje/fme/start | to be added | Serbia, Italy | mirjana.devetakovic@gmail.com | The paper systematizes geometric aspects relevant for understanding design of solar systems. The systematization is based on a review of literature dedicated to various kinds of engineers, including architects, involved in a multidisciplinary process of conceptualizing, designing and realization of PV systems. The understanding of the presented geometric aspects, known as solar geometry, is important not only in terms of finding optimal orientation and most effective tilt of solar modules, but also in terms of adequate geometric modelling of façade elements of a complex shape (as specific photovoltaic modules) in order to be optimally exposed to the sun all over the year. After providing detailed explanations of the main elements of solar geometry using the tools of spherical trigonometry, the paper discusses the integration of the presented geometric concepts in the BIM environments, and refers the example of Autodesk Revit software through its sun study tool. Analysed are functionalities of all interactive components of the 3D solar path representation. A need for more explicit determination of an incidence angle of the sun rays on a tilted surface is stressed. In the conclusion highlighted is the essential knowledge on solar geometry that needs to be acquired during architectural education, so that architects participating in the BIM working environments could be prepared for efficient conceptualization of integrated solar systems.
Van Sark, W.G.J.H.M. | Photovoltaic System Design and Performance | 2019 | Journal | Energies | Volume 12, 1826 | to be added | Netherlands | w.g.j.h.m.vansark@uu.nl | This editorial summarizes the collection of papers in the Special Issue entitled Photovoltaic System Design and Performance, which was published in MDPI’s Energies journal. Papers on this topic were submitted in 2017 and 2018, and a total of 21 papers were published. Main topics included data analysis for optimal performance and fault analysis, causes for energy loss, and design and integration issues. The papers in this Special Issue demonstrate the importance of designing and properly monitoring photovoltaic systems in the field in order to ensure maintaining good performance.
Reinders, A., Moser, D., Sark, W. van, Oreski, G., Pearsall, N., Scognamiglio, A., Leloux, J. | Introducing ‘PEARL-PV’: Performance and Reliability of Photovoltaic Systems: Evaluations of Large-Scale Monitoring Data | 2018 | Conference Proceedings | 35th EU PVSEC, Brussels |  | to be added | All | a.h.m.e.reinders@utwente.nl | This paper will introduce a recently initiated COST Action titled PEARL PV and show its 4-year research and work plan with the aim to create exposure, receive feedback from various stakeholders and involve new participants to this research network. The aim is i) to improve the energy performance and reliability of photovoltaic (PV) solar energy systems in Europe leading to lower costs of electricity produced by PV systems by a higher energy yield, ii) a longer life time eventually beyond the guaranteed 20 years as specified by manufacturers, and iii) a reduction in the perceived risk in investments in PV projects. This objective will be achieved by analyzing big data of the actual monitored long-term performance, defects and failures in PV systems installed all over Europe to quantitatively determine the absolute influences of components rated performance, key design of systems, installation, operation, maintenance practice, geographic location and weather factors on the performance, performance degradation over time and failure modes of these PV systems. The PEARL PV project aims at the formation of an inclusive network of PV system researchers, data resources that will be analyzed by researchers and experts that can include more-nuanced evidence-based reliability in PV system evaluation methods and simulation and design tools. The COST Action PEARL PV assembles an inclusive partnership network of PV system researchers with experience with PV monitoring and simulation, with solar resources, and with PV operators who collectively bring together their ongoing work to contribute to the collation, analysis and interpretation of an agglomeration of PV system performance data in Europe.
Reinders, A., Moser, D., Sark, W. van, Oreski, G., Pearsall, N., Scognamiglio, A., Leloux, J. | Introducing ‘PEARL-PV’: Performance and Reliability of Photovoltaic Systems: Evaluations of Large-Scale Monitoring Data | 2018 | Conference Proceedings | WCPEC-7, Hawaii | https://ieeexplore.ieee.org/document/8547966 | https://ieeexplore.ieee.org/document/8547966 | All | a.h.m.e.reinders@utwente.nl | Idem
Reinders, A., Van Slooten, F., Moser, D., Van Sark, W., Oreski, G., Ottersboeck, B., Pearsall, N., Devetaković, M., Leloux, J., Capeska Bogatinoska, D., Braun, C., Gerd Imenes, A., Driesse, A. | Development of a big data bank for PV monitoring data, analysis and simulation in COST Action ‘PEARL PV’ | 2019 | Conference Proceedings | 46th IEEE PVSC, Chicago |  | to be added | All | w.g.j.h.m.vansark@uu.nl | COST Action entitled PEARL PV aims at analyzing data of monitored PV systems installed all over Europe to quantitatively evaluate the long-term performance and reliability of these PV systems. For this purpose, a data bank is being implemented that can contain vast amounts of data, which will enable systematic performance analyses in combination with simulations. This paper presents the development process of this data bank.
Reinders, A., Van Slooten, F., Moser, D., Van Sark, W., Oreski, G., Ottersboeck, B., Pearsall, N., Devetaković, M., Leloux, J., Capeska Bogatinoska, D., Braun, C., Gerd Imenes, A., Driesse, A. | Development of a big data bank for PV monitoring data, analysis and simulation in COST Action ‘PEARL PV’ | 2019 | Conference Proceedings | 36th EU PVSEC, Marseille |  | to be added | All | w.g.j.h.m.vansark@uu.nl | Idem
Virtuani A., Caccivio M., Annigoni E., Friesen G., Chianese D., Ballif C., Sample T. | 35 years of photovoltaics: Analysis of the TISO-10-kW solar plant, lessons learnt in safety and performance—Part 1 | 2019 | Journal | Progress in Photovoltaics | Volume 27, Issue 4, April 2019, Pages 328-339, https://onlinelibrary.wiley.com/doi/full/10.1002/pip.3104 | to be added | Zwitserland, Italy | alessandro.virtuani@epfl.ch | The TISO-10-kW solar plant, connected to the grid in 1982, is the oldest installation of this kind in Europe. Its history is well documented, and the full set of modules has been tested indoors at regular intervals over the years. After 35 years of operation, we observe an increase in the degradation rates and that the distributions of modules' performances are drastically changing compared with previous years. Two groups of modules can be observed: (a) group 1: 21.5% of the modules show a very modest degradation, described by a Gaussian distribution with mean yearly power degradation of only −0.2%/y. (b) Group 2: 72.9% of the modules form a negatively skewed distribution with a long tail described by mode (−0.54%/y), median (−0.62%/y), and mean (−0.69%/y) values. In earlier years, decreases in performances could strongly be correlated to losses in fill factor (FF). After 35 years, the situation changes and, for a subset of modules, losses in the current (Isc) are superimposed to losses in FF. The reasons for this will become clearer in part 2, where we will present results of a detailed visual inspection on the whole set of modules and will focus on safety aspect too. We conclude that, after 35 years of operation in a temperate climate, approximately 60% (~70% if considering a ± 3% measurement uncertainty) of the modules would still satisfy a warranty criteria that module manufacturers are presently considering to apply to the technology of tomorrow: 35 years of operation with a performance threshold set at 80% of the initial value
Virtuani A., Caccivio M., Annigoni E., Friesen G., Chianese D., Ballif C., Sample T. | 35 years of photovoltaics: Analysis of the TISO-10-kW solar plant, lessons learnt in safety and performance—Part 2 | 2019 | Journal | Progress in Photovoltaics | Article in press | to be added | Zwitserland, Italy | alessandro.virtuani@epfl.ch | The TISO-10-kW plant, installed in Lugano (Switzerland) in 1982, is the first grid-connected PV plant in Europe. In a joint publication (part 1), we presented the results of the electrical characterization performed in 2017—after 35 years of operation—of the 288 Arco Solar modules constituting the plant. Power degradation rates were different among modules and two groups could clearly be distinguished: group 1, with a remarkably low mean degradation rate of −0.2% per year, and group 2, with a mean degradation of −0.69% per year. After 35 in a temperate climate, approximately 70% of the modules (considering a ±3% measurement uncertainty) still exhibit a performance higher than 80% of their initial value. In this paper, when possible, we attempt at correlating module performance losses to specific failure mechanisms. For this sake, an extensive characterization of the modules was performed using visual inspection, IV curve measurements, electroluminescence, and infrared imaging. We remarkably find that module degradation rates are highly correlated to the aging pattern of the encapsulants used in module manufacturing. In particular, a specific formulation of the encapsulant (PVB), which was used only in a minority of the modules (approximately 10%), leads to degradation rates of −0.2% per year, which corresponds to a loss in performance below 10% over 35 years. Potential safety threats are also investigated, by measuring the frame continuity, the functionality of the bypass diodes, and the module insulation. Finally, we discuss how the analysis of a 35-year-old PV module technology could benefit the industry in order to target PV module lifetimes of 40+ years.
Lobaccaro G., Malgorzata M.L., Saretta E., Bonomo P., Frontini F., | A Methodological Analysis Approach to Assess Solar Energy Potential at the Neighborhood Scale | 2019 | Journal | Energies | Volume 12, 17 September 2019, Pages 3554 | https://www.mdpi.com/1996-1073/12/18/3554 | Norway, Switzerland | gabriele.lobaccaro@ntnu.no | Rapid and uncontrolled urbanization is continuously increasing buildings’ energy consumption and greenhouse gas emissions into the atmosphere. In this scenario, solar energy integrated into the built environment can play an important role in optimizing the use of renewable energy sources on urban surfaces. Preliminary solar analyses to map the solar accessibility and solar potential of building surfaces (roofs and façades) should become a common practice among urban planners, architects, and public authorities. This paper presents an approach to support urban actors to assess solar energy potential at the neighborhood scale and to address the use of solar energy by considering overshadowing effects and solar inter-building reflections in accordance with urban morphology and building characteristics. The approach starts with urban analysis and solar irradiation analysis to elaborate solar mapping of façades and roofs. Data processing allows assessment of the solar potential of the whole case study neighborhood of Sluppen in Trondheim (Norway) by localizing the most radiated parts of buildings’ surfaces. Reduction factors defined by a new method are used to estimate the final solar potential considering shadowing caused by the presence of buildings’ architectural elements (e.g., glazed surfaces, balconies, external staircases, projections) and self-shading. Finally, rough estimation of solar energy generation is assessed by providing preliminary recommendations for solar photovoltaic (PV) systems suited to local conditions. Results show that depending on urban morphology and buildings’ shapes, PV systems can cover more than 40% of the total buildings’ energy needs in Trondheim.
P. A. Cotfas, D.T. Cotfas, P.N. Borza. D. Sera, R. Teodorescu | Solar Cell Capacitance Determination Based on an RLC Resonant Circuit | 2018 | Journal | Energies | Energies 2018, 11(3), 672 | https://doi.org/10.3390/en11030672 | Romania, Denmark | pcotfas@unitbv.ro | The capacitance is one of the key dynamic parameters of solar cells, which can provide essential information regarding the quality and health state of the cell. However, the measurement of this parameter is not a trivial task, as it typically requires high accuracy instruments using, e.g., electrical impedance spectroscopy (IS). This paper introduces a simple and effective method to determine the electric capacitance of the solar cells. An RLC (Resistor Inductance Capacitor) circuit is formed by using an inductor as a load for the solar cell. The capacitance of the solar cell is found by measuring the frequency of the damped oscillation that occurs at the moment of connecting the inductor to the solar cell. The study is performed through simulation based on National Instruments (NI) Multisim application as SPICE simulation software and through experimental capacitance measurements of a monocrystalline silicon commercial solar cell and a photovoltaic panel using the proposed method. The results were validated using impedance spectroscopy. The differences between the capacitance values obtained by the two methods are of 1% for the solar cells and of 9.6% for the PV panel. The irradiance level effect upon the solar cell capacitance was studied obtaining an increase in the capacitance in function of the irradiance. By connecting different inductors to the solar cell, the frequency effect upon the solar cell capacitance was studied noticing a very small decrease in the capacitance with the frequency. Additionally, the temperature effect over the solar cell capacitance was studied achieving an increase in capacitance with temperature.
S. Mahmoudinezhad, S. Ahmadi Atouei, P.A. Cotfas, D.T. Cotfas, L.A. Rosendahl, A. Rezania | Experimental and numerical study on the transient behavior of multi-junction solar cell-thermoelectric generator hybrid system | 2019 | Journal | Energy Conversion and Management | Volume 184, 15 March 2019, Pages 448-455 | https://doi.org/10.1016/j.enconman.2019.01.081 | Romania, Denmark | pcotfas@unitbv.ro | An experimental investigation and numerical verification of the transient behavior of a hybrid concentrating triple junction solar cell-thermoelectric generator system is presented in this paper. The experimental work is accomplished under varying concentrated solar radiations using a solar simulator, and the numerical study is conducted using COMSOL Multiphysics Modeling Software. An arbitrary pattern for the solar radiation varying between 0 and 39 suns is considered in the experiments and numerical simulation. Time-dependent temperatures of the concentrating triple-junction solar cell and hot and cold sides of the thermoelectric generator along with short circuit current, open circuit voltage and maximum powers are obtained experimentally. The results indicate that the output power by the concentrating triple-junction solar cell is fluctuating very fast with changing the solar radiation. Due to the thermal capacity and thermal resistance of the thermoelectric generator, this variation for the temperatures and output power of the thermoelectric generator is more gradually. The results also indicate that using thermoelectric generator in the hybrid system leads to having more stable overall output power. Furthermore, the contribution of the thermoelectric generator in the overall power generation by the system can be enhanced with material and geometrical optimization.
D. T. Cotfas, A.M. Deaconu, P. A. Cotfas | Application of successive discretization algorithm for determining photovoltaic cells parameters | 2019 | Journal | Energy Conversion and Management | Volume 196, 15 September 2019, Pages 545-556 | https://doi.org/10.1016/j.enconman.2019.06.037 | Romania | dtcotfas@unitbv.ro | The extraction of the photovoltaic cells and panels parameters still represents a hot topic, despite the numerous methods proposed by researchers in scientific literature. In order to optimize the efficiency of photovoltaic cells and panels and to predict the energy they generate, it is useful to accurately calculate their parameters function of temperature and irradiance. This paper proposes the Successive discretization algorithm developed to extract five parameters of photovoltaic cells and panels using the current voltage characteristic and the one diode model. Three widely used standard datasets, one for the photovoltaic cell and two for photovoltaic panels, are utilized. Other three datasets are analyzed, one measured in laboratory conditions for the monocrystalline photovoltaic cell and two under natural sunlight for the monocrystalline photovoltaic panel. The proposed algorithm proves its performance through comparison with other over twenty accepted methods used in specialized literature. The comparison is made for five parameters and the root mean square error. The obtained results demonstrate that the method presented is one of the best and it increases the determination accuracy of important photovoltaic cells’ parameters. Thus, the Successive discretization algorithm is a very good candidate as tool for extracting the photovoltaic cells and panels parameters.
Daniel Tudor Cotfas , Petru Adrian Cotfas , Octavian Mihai Machidon | Study of Temperature Coefficients for Parameters of Photovoltaic Cells | 2018 | Journal | International Journal of Photoenergy | Volume 2018, Article ID 5945602, 12 pages | https://doi.org/10.1155/2018/5945602 | Romania | dtcotfas@unitbv.ro | The temperature is one of the most important factors which affect the performance of the photovoltaic cells and panels along with the irradiance. The current voltage characteristics, I-V, are measured at different temperatures from 25°C to 87°C and at different illumination levels from 400 to 1000 W/m2, because there are locations where the upper limit of the photovoltaic cells working temperature exceeds 80°C. This study reports the influence of the temperature and the irradiance on the important parameters of four commercial photovoltaic cell types: monocrystalline silicon—mSi, polycrystalline silicon—pSi, amorphous silicon—aSi, and multijunction InGaP/InGaAs/Ge (Emcore). The absolute and normalized temperature coefficients are determined and compared with their values from the related literature. The variation of the absolute temperature coefficient function of the irradiance and its significance to accurately determine the important parameters of the photovoltaic cells are also presented. The analysis is made on different types of photovoltaics cells in order to understand the effects of technology on temperature coefficients. The comparison between the open-circuit voltage and short-circuit current was also performed, calculated using the temperature coefficients, determined, and measured, in various conditions. The measurements are realized using the SolarLab system, and the photovoltaic cell parameters are determined and compared using the LabVIEW software created for SolarLab system.